## Disclaimer
DISCLAIMER, AUTHORISATION AND ACKNOWLEDGEMENT
The Green Star environmental rating system for buildings (“Green Star”) and the Green Star – Performance rating tool (“Green Star – Performance") have been developed by the Green Building Council of Australia (“GBCA”). Green Star – Performance evaluates the operational performance of all types of existing buildings (with the exception of single detached dwellings). It is intended for use by stakeholders including project team members as a guide for sustainable existing building operations. As with all Green Star rating tools, Green Star – Performance may be subject to further development in the future.
Green Star and Green Star – Performance have been developed with the assistance and participation of representatives from many organisations. The GBCA authorises you to view and use Green Star – Performance for your individual use only. In exchange for this authorisation, you agree that the GBCA retains all copyright and other proprietary rights contained in and in relation to Green Star – Performance and agree not to sell, modify, or use for another purpose all or any part of the tool or to reproduce, display or distribute the tool in any way for any public or commercial purpose, including display on a website or in a networked environment. Unauthorised use of Green Star and/or Green Star – Performance will violate copyright and other laws, and is prohibited. All text, graphics, layout and other elements of content contained in Green Star and its rating tools are owned by the GBCA and are protected by copyright, trade mark and other laws.
To the maximum extent permitted by law, the GBCA does not accept responsibility, including without limitation for negligence, for any inaccuracy within Green Star and/or its rating tools and makes no warranty, expressed or implied, including the warranties of merchantability and fitness for a particular purpose, nor assumes any legal liability or responsibility to you or any third parties for the accuracy, completeness, or use of, or reliance on, any information contained in Green Star and/or Green Star – Performance , or for any injuries, losses or damages (including, without limitation, equitable relief and economic loss) arising out of such use or reliance.
Green Star and Green Star – Performance are no substitute for professional advice. You should seek your own professional and other appropriate advice on the matters addressed by them.
As a condition of use, you covenant not to sue, and agree to waive and release the GBCA, its officers, agents, employees and its members from any and all claims, demands and causes of action for any injury, loss, destruction or damage (including, without limitation, equitable relief and economic loss) that you may now or hereafter have a right to assert against such parties as a result of your use of, or reliance on, Green Star and/or Green Star – Performance.
The GBCA does not endorse any self-assessed Green Star rating achieved by the use of Green Star – Performance. The GBCA offers a formal certification process for 1 Star to 6 Star ratings; this service provides for independent third party review of points claimed to ensure all points can be demonstrated to be achieved by the provision of the necessary documentary evidence. The use of Green Star – Performance without formal certification by the GBCA does not entitle the user or any other party to promote the Green Star rating achieved.
The application of Green Star – Performance to the operational performance of all types of existing buildings (with the exception of single detached dwellings) is encouraged to assess and improve their environmental performance attributes. However, formal recognition of the Green Star rating – and the right to promote same – requires undertaking the formal certification process offered by the GBCA.
You are only authorised to proceed to use Green Star and Green Star – Performance on this basis.
All rights reserved.

## Change Log
Please ensure that you use the most up-to-date version of Green Star calculators They are routinely updated, and using the most current version will make filling in your calculator easier, clearer and more accurate. This calculator provides an indication of the number of points available in the rating tool. It is not final, and it is only intended for feedback purposes.
Change Log
| Scorecard Release | Summary of Changes
Green Star - Performance Submission Guidelines Version 1.1 | Release 1 - 08/04/2016 | Released for Green Star - Performance v1.1, - Amended calculation for Verified Compliant Spaces - Minor formatting throughout
Green Star - Performance Submission Guidelines Version 1.0 | Release 2 - 05/06/2015 | Cell formatting errors amended.
| Release 1 - 2/04/2015 | Initial Release

## Example (hidden)
INDOOR POLLUTANT CONTROL: FRESH INDOOR AIR AND CO2 CONCENTRATION
| Date | Time (duration)
First recorded instance
Second recorded instance
Third recorded instance
Fourth recorded instance
Which method has been used to comply with Indoor Pollutant Control? | 8.3B Outdoor air flows
Regularly Occupied Primary Spaces (ROPS) |  |  | FALSE | FALSE | FALSE | FALSE | If not compliant, were actions taken within the performance period to investigate and rectify. | If not compliant, please provide a brief explanation as to why and what actions have been taken. | Space size (m2)
Level / Functional space | Zone / Location | Description of Space | [7 empty] | Compliant? (Yes = 1, No = 0)
Ground Level | 1-8 | Retail | Yes | Yes | Yes | Yes |  |  | 800 | 1
Level 1 | 1-8 | Open Plan Office | Yes | Yes | Yes | Yes |  |  | 1000 | 1
Level 2 | 1-8 | Open Plan Office | No | No | No | No | No | Occupancy higher than designed for in this space. No corrective actions yet taken. | 400 | 0
Level 3 | 1-8 | Open Plan Office | Yes | Yes | Yes | Yes |  |  | 500 | 1
Level 4 | 1-8 | Open Plan Office | Yes | Yes | Yes | Yes |  |  | 100 | 1
Level 5 | 1-8 | Open Plan Office | Yes | Yes | Yes | Yes |  |  | 1000 | 1
Level 6 | 1-8 | Open Plan Office | Yes | Yes | Yes | Yes |  |  | 1000 | 1
Level 7 | 1-8 | Open Plan Office | Yes | Yes | Yes | Yes |  |  | 1000 | 1
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total ROPS included in measurements (m2) | [8 empty] | 5800
Total ROPS that meet the CO2 levels required in this credit criteria (m2) | [8 empty] | 5400
Total ROPS area (m2) | [8 empty] | 8000
Percentage of ROPS that meet requirements | [8 empty] | 67.5%
Number of points that can be targeted | [5 empty] | 1
Please contact your Case Manager if additional rows are required to list all Regularly Occupied Primary Spaces.
Percentage of ROPS that meets requirements | Point(s) available
40% | 1
80% | 2
Note 1:
This criterion relies on the selection of 10 Regularly Occupied Primary Spaces (ROPS). These 10 ROPS are randomly selected by your Case Manager from the Reporting Template that you submitted with your Round 1 submission.
As part of the Pre Assessment Review, your Case Manager will send you a list with the 10 ROPS for which detailed documentation must be provided to support your submission. Your Case Manager will unlock your submission to allow you to upload these documents.
Note 2:
The periodical measurement and recording of Indoor Pollutants Control: Fresh Indoor Air and CO2 Concentration, in order to demonstrate compliance with the credit and documenting results for certification, the measurement and recording of indoor air parameters must take place at least four times during the performance period (at least once per quarter).
For the purposes of Initial Certification only, it is acceptable that at least one periodical measurement instance has been taken and recorded within three months of the end of the performance period.

## Instructions
Cell Types
User input cell. | Please fill in these cells only (white background).
Calculation cell. | These cells are used for calculating user input values, please do not attempt to modify these cells (light blue background).
Results cell. | These cells are used to display the results from all calculations (blue background).
Reference cell. | These cells are used to display instructions in completing the user input cells and also provide references to the Submission Guidelines e.g. credit benchmarks (light grey background).
Portfolio Submissions
When a single applicant wishes to rate more than one building the GBCA offers a Portfolio approach to certification. A portfolio approach will reduce time and duplication of effort involved in attaining a Green Star - Performance rating for a number of properties. Where relevant, some credits can be submitted in a portfolio submission for assessment across multiple buildings. The calculators submitted for these credits must be uniquely identified according to the building they are relevant to, by completing the building information details at the top of the calculator worksheet. If you are submitting a credit which has a calculator under a portfolio submission, please use the below guidance: 1. Open the credit's calculator. 2. Open the relevant calculator worksheet. 3. At the bottom of the page, right-click on the worksheet tab and select 'Move or Copy'. 4. Tick the 'Create a copy' check box and then click 'OK'. The calculator worksheet will be copied within the file, enabling information to be submitted for multiple buildings. 5. Repeat for as many buildings that are being included within the portfolio submission. 6. Ensure each worksheet uniquely identifies each building by completing the building information details. Your Technical Coordinator will be able to assist with any questions you may have about this process.
Support
Please ensure to reference the Green Star - Performance v1.1 Submission Guidelines for guidance on how to complete the calculators. Submission Templates and Calculators jointly respond to credit requirements as outlined in the submission guidelines. The GBCA advises consulting and using each of these documents and any relevant supporting materials as needed to support an informed and consistent approach to your submission. For any queries or additional information, please contact your project's GBCA Technical Coordinator.

## 8.3 Indoor Pollutant Control
[13 empty] | x | x
8.3 Indoor Pollutant Control - Carbon Dioxide
Building Information
Please enter the project's Green Star number.
Please enter the building's address or name.
Please enter the building's total Regularly Occupied Primary Space (m2).
Please enter the project's Performance Period. (Start date to end date)
| Date | Time (duration)
First recorded instance |  |  | Please record date and time of measurements. Guidance within the credit recommends that the measurement and recording of indoor air parameters take place at least two times during the performance period (at least once for every six months of operation).
Second recorded instance
Third recorded instance
Fourth recorded instance
Which method has been used to comply with Indoor Pollutant Control? |  |  | Select compliance pathway.
Select ROPS compliance pathway |  |  | Select Recording pathway as per 8.3A.4.
Regularly Occupied Primary Spaces (ROPS) Included in Measurements |  |  |  | Please select compliance pathway |  |  |  | Benchmark | Verified as Compliant Space | For Non-compliant Measurements |  | ROPS Compliant with Benchmark (m2) |  | all 4 | 3 readings | 2 readings
Level / Functional Space | Zone / Location | Description of Space | Size of Space (m2) | First Measurement | Second Measurement | Third Measurement (if applicable) | Fourth Measurement (if applicable) |  | Yes / No | Were actions taken within the performance period to investigate and rectify? | Provide a brief explanation as to why and what actions have been taken. |  |  | Compliant? (Yes = 1, No = 0)
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
[9 empty] | No |  |  |  | 0 | 0 | 0 | 0
| Total ROPS included in measurements (m2) |  | 0 | [6 empty] | Total ROPS that meet the required CO2 levels (m2) |  | 0
Total ROPS included in measurements (m2)
[10 empty] | Percentage of ROPS that meet requirements |  | 0%
[10 empty] | Number of points that can be targeted |  | Does not meet requirements
Percentage of ROPS that meets the credit requirements | Point(s) available
40% | 1
80% | 2

## Definitions (hidden)
8.3A Measured CO2 Levels | Measured CO2 concentrations (benchmark is 800 ppm or lower). | 800
8.3B Outdoor air flows | Measured outdoor air flow rates (benchmark is to be calculated as at least 50% greater than flow rates in accordance with AS1668.2-2012). | Please calculate and enter here
Yes
No
All regularly occupied primary spaces
10 representative regularly occupied primary spaces
Initial Certification
Re-certification
Accommodation
Clothing/Fabric Stores
Clubs and Meeting Places
Comm Serv & Pub Adm - nec
Communications
Courthouses
Data Centers
Department Stores
Dormitories
Education
Fast Food Restaurants
Food Sales
Food Service
Food Stores
Health Care
Hospitals
Hospitals
Hotels
Household Appl & Hardware Stores
Houses of Worship
K-12 Schools
Lodging
Medical Offices
Mercantile
Office
Offices
Other
Other Service
Parking
Public Assembly
Public Order and Safety
Recreation - Not Elsewhere
Religious Worship
Retail / Wholesale - nec
Retail Stores
Schools
Senior Care Facility
Supermarkets
Vacant
Warehouse and Storage
Warehouses
Wastewater Treatment Plants
Initial Certification
Recertification
Space type
Office
Retail
Education
Industrial
Other